## All working. Can we regenerate
Field | Description | Logic | Home Assistant Entity
equip_mode | System Power/Mode | 0: Off, 1: Heat, 2: Cool, 3: Auto, 4: Dry
dis_sys_temp | Main Ambient Temp | Integer (Value / 10 = °C)
coolset / heatset | Target Setpoints | Integer (Value / 10 = °C)
fan_speed | Fan Velocity | 0: Auto, 1: Low, 2: Medium, 3: High
zone_no | Zone Count | Total number of physical zones installed
zoneX_status | Zone State | 0: Closed/Off, 1: Open/On
zoneX_set | Zone Target Temp | Integer (Value / 10 = °C)
dis_zone_temp | Zone Temps | Array of integers for all zones
dis_room_humi | Zone Humidity | Array of integers for all zones | Done
dis_room_temp | Zone Temperature |  | Done
fan_mode | Auto/Continious | 0: Auto, 1: Continious | Done
fan_status
zoneX_name | Zone Name
mac | MAC Address
autoofftime